## Specs_DG_Set
YRGCARE |  |  |  | Remarks
Specifications for Procurement of one (1 no.) 125 kVA Diesel Generator Set |  |  | Vendor Name
Print the offer in company Letter Head, with signature and company seal required.
Delivery Address |  | Salamangalam, Sirumathur Village, Padappai (Old No. 193, New No. 179, Sirumathur, Padappai, Pincode – 601301)
Project::General - Lab
RFQ NO :005_2025
S.No. | Description of Equipment / Service | Description of Items | Unit Price | Wherever prices are included in main machine please state "0"
1 | 125 kVA Diesel Generator Set
2 | Brand / Model {Kirloskar ¦ Escorts ¦ Cummins ¦ Other leading Indian Brands | To be indicated by vendor |  | To be indicated by vendor
3 | Type of Cooling (Water ¦ Oil etc)
4 | Alternator (Type ¦ Make)
5 | Alternator side power cable termination & connection |  |  | Please include costs for this service! {Cable already in place from Buyer's side!!}
6 | Emission Standard |  |  | To be stated {Ex.CPCB 4 etc}
7 | Acoustic Enclosure
8 | Batteries as required
9 | Battery Charger
10 | Diesel Tank Capacity
11 | Provision for automatic start |  |  | Initially manual changer-over switch planned.
12 | Standard Warranties for all the equipments |  |  | To be indicated per item separately.
13 | Battery - Warranty
14 | Transit Insurance
15 | Freight & loading and unloading costs up to installation bed. |  |  | Delivery at the installation address.
16 | Delivery period | Please state number of days post receipt of P.O. |  | <<Days to delivery
17 | Licensing CEIG | Apply to and secure license |  | Indicate costs if any.
18 | RCC Civil Platform Dimensions |  |  | Bidders to mention only the dimensions.
Buyer's scope {not to be quoted in the bid}
Armoured cable supply & laying
Earthing Pits - complete with GI & Copper Flats
| Manual Change-over switches |  |  | 250 Amps
| RCC Civil Platform |  |  | Will be constructed by buyer based on dimensions provided.